PEJABAT BURSAR

# SENARAI SPESIFIKASI SEBUT HARGA

Untuk Kegunaan J/Kuasa

Pembukaan Tender/Sebutharga

Kod Syarikat	:	____________________

T/Tangan	:	____________________

No. Rujukan Sebut Harga	: ………………………

No. Peti Tender		: ………………………

Tarikh Tutup			:  ……………………..

______________________________________________________________________

TAJUK  :

###### SENARAI SPESIFIKASI

Nama Alatan		:

Tempoh Hantaran	:

### CONTOH

###### ANISOTROPIC CONSOLIDATION APPARATUS

Required is a unit of anisotropic consolidation apparatus suitable for conducting stress-controlled triaxial tests and for preloading samples for direct-shear tests.  The apparatus consist of the following items.

- The Load Frame (1 complete set)

A floor mounted frame constructed from steel, capable to accept

three shear-box samples or three triaxial cells (for samples up to

100 mm diameter) simultaneously.

Fitted with loading hanger complete with counterbalanced lever

loading beam with a 10: 1 ratio at each loading position.

- 50kg of Slotted weight (3 complete sets)

4 nos. of 10 kg; 1 no. of 5 kg; 2 nos. of 2 kg; 1 no. of l kg

500 g Slotted weight (3 units)

250 g Slotted weight ( 3 units)

100 g Slotted weight (6 units)

50 g Slotted weight ( 3units)

( c )	Triaxial cells for samples up to 100mm diameter.  Able to withstand

Pressure up to 1700kPa. (3 units)

JENAMA/MODEL/BUATAN

YANG DITAWARKAN	: 	-----------------------------------------------

1.	Sila tanda	:	[   /  ]  jika memenuhi spesifikasi

[   x  ]  jika tidak memenuhi spesifikasi

- Sekiranya terdapat aksesories tambahan sila kemukakan keterangan spesifikasi yang lengkap secara berasingan.

- Borang ini hendaklah diisi dalam dua (2) salinan.

PENGESAHAN JAWATANKUASA TEKNIKAL JABATAN/PUSAT TANGGUNG JAWAB

KEAHLIAN

| Tandatangan (Pengerusi) Nama : Jawatan : |  | Tandatangan (Setiausaha) Nama : Jawatan : |
| --- | --- | --- |
|  | Tandatangan (Ahli) Nama : Jawatan : |  |

# Text boxes

SOK/KEW/DF006/BUY

[      ]

[      ]

[      ]

[      ]

[      ]

[      ]

[      ]

[      ]